Construction of 140 mt length drain (both side) from Bus stand area to main drain for south side connecting road of Haldibari- Jalpaiguri rute Busterminus at Bowbazar. Jalpaiguri

| Sl. NO | Description of Items | Unit | Quantity | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Earthwork in excavation of foundation trenches or drains in all sorts of soil including mixed soil but excluding leterite or sand stone) removing spreading or stacking the spoils within a lead of 75 ramming the bottom, bailing out water etc. as required complete. A) Depth of excavation not exceeding 1.5m | CUM | 275 | 41.87 | 11,514=00 |
| 2 | Cement concrete (1:3:6) with 20 mm down graded shingles excluding shuttering) a)(6:3:1) Concrete | CUM | 245 | 2454.00 | 6,01,230=00 |
| 3 | Nominal Mix M-15 cement concrete with graded stone chips (20mm size) excluding shuttering and rainforced if any ground floor. - b) River bazree | CUM | 13 | 2932.00 | 38,116=00 |
| 4 | Hire and labor charges for shuttering with centering and necessary staging up to 4 m. using approved stout props and thick hard wood planks of approved thickness with including fitting, fixing and striking out after completion of works ( up to roof of ground floor) f) 25mm. To 30mm. Shuttering without staging in foundation etc. | SQM | 1375 | 107.80 | 1,48,225=00 |
| 5 | Reinforcement Supplying bending, and binders and. Laying in position steel reinforcement of different dimension in cement concrete work of different component in foundation and in super structure including initial straightening, of coils bars, removed of loose rust (if any) proper position and binding with | MT | 1.20 | 40,000.00 | 48,000=00 |
| 6 | Plaster (to wall floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and making out joints or roughening of concrete surface, including throttling, nosing and drip course where necessary ii) with 4:1 cement mortar. 15mm thick plaster | SQM | 725 | 78.30 | 56,767=00 |
| 7 | Neat cement punning about 1.5 mm. thick in wall, dado, window, sills, floor, drain etc. | SQ M | 725 | 16.50 | 11,962=00 |
| 8 | Single brick flat soling of picked, jhama bricks including ramming and dressing bed to proper level and fitting joints with powdered earth or local sand. | SQ M | 182 | 150.00 | 27,300=00 |
|  | Estimated Amount |  |  |  | 9,43,114=00 |

Rupees Nine lacs forty three thousand one hundred fourteen only.